## Slide 1
Sterile Tube with 4 mL MGIT broth and sterile glass beads
Solid Medium with growth < 14 days old
Prepare suspension
> 1.0 McFarland
Vortex 2 - 3 minutes
20 minutes for large clumps to settle
Transfer supernatent
15 minutes for clumps to settle
Transfer supernatent
Adjust to 0.5 McFarland turbidity
1 mL
4 mL Sterile Saline
1:5 dilution
PZA Inoculum
1) Use growth on solid medium < 14 days old.
2) Make suspension >1.0 McFarland turbidity standard in MGIT broth containing 8 - 10 sterile glass beads.
3) Vortex 2 - 3 minutes.
4) Allow to sit 20 minutes for large clumps to settle.
5) Transfer supernatent fluid to another sterile tube and allow to sit for another 15 minutes.
6) Transfer supernatent fluid to another sterile tube and adjust turbidity to 0.5 McFarland turbidity standard.
7) Dilute 1 mL of final suspension in 4 mL sterile saline – inoculum tube. Vortex.
ILB500G09C Effective Date: 05 June 2009
Days 3-5
1:5 dilution
A
B
C
Day 0
Incubate for one day
Day 1 or 2
No Dilution required
PZA Inoculum
A. Day of Positivity = Day 0
Incubate at least one more day after positivity.
B. If tube is ‘Day 1’ or ‘Day 2’, vortex 2-3 minutes, let settle for 20 minutes. Proceed to Preparation & Inoculation.
C. If tube is ‘Day 3’ to ‘Day 5’, vortex 2-3 minutes, let settle for 20 minutes. Dilute 1 mL of positive broth into 4 mL sterile saline. (1:5 dilution) inoculum tube
From a Positive 7 mL MGIT Tube:
From Solid Media:
MGIT™ 960 PZA Preparation & Inoculation
GAP – International Laboratory Branch, Atlanta, GA

## Slide 2
1. Add 0.8 mL BACTEC™ MGIT™ 960 PZA Supplement to each tube (GC and drug tube)
Growth
Control
PZA
0.8 mL
PZA Supplement
Prepare Growth Control Inoculum: Pipette 0.5 mL of organism suspension into 4.5 mL sterile saline to make a 1:10 dilution. Mix well
4.5 mL Sterile Saline
0.5 mL organism suspension
MGIT™ 960 PZA Preparation & Inoculation
4. Remove 0.5 mL of the 1:10 dilution and inoculate the Growth Control tube. Invert to mix
5. Remove 0.5 mL of inoculum from the top 1/3 of the organism suspension tube (undiluted or 1:5 dilution) and inoculate the PZA drug tube. Invert to mix.
6. Place tubes into appropriate AST Set Carrier and enter into BACTEC MGIT 960 instrument.
7. Select PZA as the carrier set definition.
0.5 mL of 1:10 dilution
2. Add 100 µL of PZA drug to the tube labeled PZA (NOT to GC tube)
Growth
Control
PZA
100 µl Drug
0.5 mL of Organism Suspension
Growth
Control
PZA
GAP – International Laboratory Branch, Atlanta, GA